## Slide 1
Brændekilde
Raingauges

## Slide 2
5425
5427
Dyrup
Bellinge
Brændekilde
G80F66Y
G80F11B
G80F13P
G73F010
G72F040
G71F05R
G71F04R
G71F06R
G71F68Y
Brændekilde
Bellinge

## Slide 3
Inlet Level
Basin Level
Position
Pipe
Level
Pump Sump
Level
Flow
Power
Sensors
Structure 1
Structure 2
Cross-sectional view
Overflow
Pipe

## Slide 4
rain_gague_data
root
combined_data
single_series
sewer_data
raw
clean
G80F11B_Level1
raw
clean
bools
5425
5425
.
.
.
Data
Timestamps
Columns

## Slide 5
TRAIN
ANOMALIES
MASK
IMPUTE

## Slide 6
Detection
Prognosis
Diagnostics

## Slide 7
Detect
Diagnose
Prognose

## Slide 9
SCOPE
TEMPORAL
Short-term
Long-term
Single
Multiple

## Slide 10
SCOPE
TEMPORAL
Short-term
Long-term
Single
Multiple
Frozen
Spikes
Noise
Calibration
Baseline shift
Drift
Aging
Blockage
Debris
Corrosion
Blockage
Delayed
SCOPE
TEMPORAL
Short-term
Long-term
Single
Multiple
Frozen
Pulse
Noise
Step
Drift
Response
Step
Drift
Step
Response
Faults
Synthetic
Notes: Signal loss?
Pulse?

## Slide 11
Short-term
Long-term
Origin
Short-term
Long-term
Impact
Non-critical
System
Technical
Critical
SCOPE
Single
Multiple
TEMPORAL
Notes: Signal loss?
Pulse?

## Slide 12
Definitions
Mutliple sensor faults
Temporal overlap; within 1-2 minutes
  And spatial proximity; same structure
Pattern consistency; correlation?
Long term faults
If the errors persists for more than 1 hour
Limitations
We’ll not focus on:
Multiple occurances of the same error within a time frame
Different types of errors occuring within the same time frame
Notes: How to define

## Slide 13
Evaluation
Single sensor Time series detection | Multiple sensors Binary detection | Long term Binary detection
For each error type: Precision & Recall ROC by threshold Binary event detection And combined | Accuracy Confusion matrix | Accuracy Confusion matrix
Notes: How to define