## Slide 9
Brændekilde
Raingauges

## Slide 10
5425
5427
Dyrup
Bellinge
Brændekilde
G80F66Y
G80F11B
G80F13P
G73F010
G72F040
G71F05R
G71F04R
G71F06R
G71F68Y
Brændekilde
Bellinge

## Slide 11
Inlet Level
Basin Level
Position
Pipe
Level
Pump Sump
Level
Flow
Power
Sensors
Structure 1
Structure 2
Cross-sectional view
Overflow
Pipe

## Slide 12
rain_gague_data
root
combined_data
single_series
sewer_data
raw
clean
G80F11B_Level1
raw
clean
bools
5425
5425
.
.
.
Data
Timestamps
Columns

## Slide 13
TRAIN
ANOMALIES
MASK
IMPUTE

## Slide 14
Detection
Prognosis
Diagnostics

## Slide 15
Detect
Diagnose
Prognose

## Slide 17
SCOPE
TEMPORAL
Short-term
Long-term
Single
Multiple

## Slide 18
SCOPE
TEMPORAL
Short-term
Long-term
Single
Multiple
Frozen
Spikes
Noise
Calibration
Baseline shift
Drift
Aging
Blockage
Debris
Corrosion
Blockage
Delayed
SCOPE
TEMPORAL
Short-term
Long-term
Single
Multiple
Frozen
Pulse
Noise
Step
Drift
Response
Step
Drift
Step
Response
Faults
Synthetic
Notes: Signal loss?
Pulse?

## Slide 19
Short-term
Long-term
Origin
Short-term
Long-term
Impact
Non-critical
System
Technical
Critical
SCOPE
Single sensor
Multi sensors
TEMPORAL
Notes: Signal loss?
Pulse?

## Slide 20
Short-term
Long-term
Origin
Short-term
Long-term
Impact
Temporary
System
Technical
Critical
TEMPORAL
SCOPE
Short-term
Long-term
Single sensor
Multi sensor
Frozen
Spikes
Noise
Calibration
Baseline shift
Drift
Aging
Blockage
Debris
Corrosion
Burst
Blockage
Connection
Faults
Notes: Signal loss?
Pulse?

## Slide 21
Definitions
Mutliple sensor faults
Temporal overlap; within 1-2 minutes
  And spatial proximity; same structure
Pattern consistency; correlation?
Long term faults
If the errors persists for more than 1 hour
Limitations
We’ll not focus on:
Multiple occurances of the same error within a time frame
Different types of errors occuring within the same time frame
Notes: How to define

## Slide 22
Evaluation
Single sensor Time series detection | Multiple sensors Binary detection | Long term Binary detection
For each error type: Precision & Recall ROC by threshold Binary event detection And combined | Accuracy Confusion matrix | Accuracy Confusion matrix
Notes: How to define

## Slide 23
Input Gate
Candidate Cell State
Forget Gate
Cell State Update
Cell State
Hidden State

## Slide 24
Dot-Product
Vector Sum
Update the embedding of
Q4
K3
K2

## Slide 25
Dot-Product
Q4
K3
K2
Embedding Vectors
Query
and
Keys
Queries
Keys
Attention Weights
Values
Sum of
Vectors
Update Embedding
of E4
~Hidden State
Proposed Change

## Slide 26
MODEL
Prediction
Integrated Gradients
Baseline of zero-vectors
x’
MODEL
Prediction
· · ·
Linear Interpolation
m steps
Gradients
Gradients
· · ·
Aggregate
ẟF/ẟxi
Input data
x

## Slide 29
ANOMALY
DETECTION
MODELLING
REFINEMENT
Benchmark
Optimize
Indicators
Evaluate
Iterative

## Slide 30
EFFECTIVE
ANOMALY DETECTION
OPTIMAL
MODELLING
REFINED
MODELLING
&
DETECTION

## Slide 31
Precipitation
Sensor
120 minutes
MODEL
1 minute ahead
Prediction
Target

## Slide 32
1
Complexity
2
Features
3
Parameters
4
Modelling
5
Priorities
6
Final

## Slide 33
Lag 1 Predictor
Linear Regression
LSTM
Transformer
Benchmarking

## Slide 34
Transformer
LSTM
Linear Regression
Lag 1 Predictor
Benchmarking

## Slide 35
1. Data Preparation
3. Benchmarking
2. Transformer Optimization

## Slide 36
Precipitation
Sensor
POLLUTE
Input
Target
Input
Target
Anomalies

## Slide 37
Target
MODEL
Prediction
Residual
Hidden State
MODEL
Integrated Gradients

## Slide 38
Target
MODEL
Prediction
Residual
Hidden State
MODEL
Integrated Gradients

## Slide 39
Target
Hidden State
Residual
Integrated Gradients
· · ·
· · ·
Isolation Forest
Anomalous
Normal
or

## Slide 40
1. Pollute dataset
2. Extract Features
3. Anomaly Detection

## Slide 41
Polluted Dataset
Training Set
Validation Set
Test Set
Split
Fit Model
Extract Indicators
Anomaly Detection
Normal
Anomalous

## Slide 42
Polluted Dataset
Training Set
Validation Set
Test Set
Split
Anomaly Detection
Normal
Anomalous

## Slide 43
Training Set
Validation Set
Test Set
Fit Model
Extract Indicators
Anomaly Detection
Normal
Anomalous

## Slide 45
Iteration 0
Iteration 1
· · ·
Combined
Indicators
Anomaly
Detection
Extract Indicators
Extract Indicators
Comparison
Fine-Tune Model
Fine-Tune Model
· · ·
· · ·

## Slide 46
Training Set
Validation Set
Test Set
Normal
Anomalous
ANOMALY DETECTION
· · ·
· · ·
· · ·
· · ·
· · ·
· · ·

## Slide 47
Iteration 1
Iteration 2

## Slide 48
RQ1: Optimal Modelling
RQ2: Synthetic Anomalies
RQ3: Anomaly Detection
RQ4: Targeted Iterative Refinement

## Slide 49
RQ2: Synthetic Anomalies
RQ3: Anomaly Detection
RQ4: Targeted Iterative Refinement

## Slide 50
Dataset
Training Set
Validation Set
Test Set
Split
Scaling
Rain Gauge 5425
G71F04R_Level2
Input (2 variables, 120 minutes)
Target(1 minute)

## Slide 52
Embedding Layer
Rain Gauge 5425
G71F04R_Level2
Input (2, 120)
(Hidden Size, 120)
WV WK WQ
Heads
(Number of Heads)
Transformer Encoder Layer
(1 Layer)
Final Layer
(1)
Hidden State
(Hidden Size, 120)